## Checklist
Operational Technical Checklist
Category | Checklist Item | Specifics to Verify | Priority | Status (Pass/Fail/Partial) | Score (1-5) | Notes / Red Flags
UTILITIES & SERVICES | Electricity Load & Type | Sanctioned load (kW) vs required (10–30 kW typical), 3-phase availability | Critical | Pass | 5 | Currently office building has load capacity of 50 KW sanctioned and Office at 1st floor has 10 KW electrical load.
UTILITIES & SERVICES | Power Backup | Space & permission for DG set / generator | High | Evaluation Criteria | 3 | Need to take statuotary approval and Owner's approval on location.
UTILITIES & SERVICES | Water Supply | Source (municipal/borewell), reliability, storage tank capacity & condition | High | Pass | 5 | Municipal water connection for the office building.We can take connection from U G water tank.
UTILITIES & SERVICES | Water Potability | Lab test required for drinking & cooking | Critical | Need to carry out test. | 3 | Need to carryout tests from external agency.
UTILITIES & SERVICES | Water Quality | Pressure & hardness level | Medium | Need to check | 3 | Currently it is 50 TDH, need to confirm
UTILITIES & SERVICES | Sewer & Drainage | Connection available | Critical | Partial | 3 | Need to take drainage remarks/ approval by submitting our proposal to Municipal authority.
UTILITIES & SERVICES | Grease Trap Chamber | Size & external location feasibility | Critical | Partial | 3
UTILITIES & SERVICES | Commercial Gas | Permission for PNG/LPG + pipeline availability | Critical | Partial | 3 | No connection for the Office, Need to apply for the Commercial use.
UTILITIES & SERVICES | Internet | High-speed broadband for POS & delivery apps | Medium | Partial | 4 | As per the requirement, need to apply.
KITCHEN & BUILDING | HVAC / Exhaust System | External wall or roof access for heavy kitchen hood & ducting | Critical | Partial | 4 | No terrace is available for the HVAC,Kitchen exhoust system.Left side wall can be available post taking approval from the Owner.
KITCHEN & BUILDING | Floor Drainage & Slope | Proper slope for kitchen wet areas | High | Partial | 4 | As per the design and SWD remarks.
KITCHEN & BUILDING | Structural Load Capacity | Can floor bear heavy kitchen equipment? | High | partial | 3 | It depend on the Kitchen equipment's weights, need to check with Structural consultant.
KITCHEN & BUILDING | Garbage Pick-up & Dump | Municipal service frequency + bin space | Medium | Pass | 5 | Regular Municipal service is available.
ACCESS, PARKING & VISIBILITY | Site Visibility | Clear driving & walking visibility from main road | High | Pass | 5 | Good visibility of the front
ACCESS, PARKING & VISIBILITY | Frontage Width | Road frontage (minimum 20–25 ft ideal) | High | Pass | 5 | ~30ft
ACCESS, PARKING & VISIBILITY | Ease of Access | Ingress/egress for cars, bikes, pedestrians | High | Pass | 5 | Good
ACCESS, PARKING & VISIBILITY | Customer Parking | Adequate car + 2-wheeler spaces (check local bye-laws) | Critical | Pass | 4 | 2 wheeler parking can be done on front side, car parking can be done on the rear side post Owner's approval.
ACCESS, PARKING & VISIBILITY | Staff & Delivery Parking | Dedicated space for staff + Swiggy/Zomato riders | High | Pass | 3 | 2 wheeler parking can be done on the front side
STAFF FACILITIES | Staff Toilets | Separate male/female, on-premise preferred | High | Partial | 1 | No staff toilet for the office building staff within the building. Separate toilet block is on the rear side but condition is very bad.
STAFF FACILITIES | Staff Entry & Exit | Separate from guest entry | Medium | Pass | 5 | As per design
STAFF FACILITIES | Public Transport Access for Staff | Proximity to metro/bus | Medium | Pass | 5 | Approx. 500mt from the location.
TRAFFIC & MARKET | Traffic Count | Peak-hour & daily vehicle count | High | Partial | 3 | Morning 8.30 to 12.00 noon and 5.00pm to 7.30 pm, experiencing heavy traffice.
TRAFFIC & MARKET | Traffic Flow & Restrictions | Direction, one-way, timing restrictions | High | Pass | 5 | No restrictions, two lane road(incoming and outgoing lanes)
TRAFFIC & MARKET | Traffic Generators | Malls, residential societies, corporate offices, schools, hospitals | High | Pass | 5 | Malls, residential societies, corporate offices, schools, hospitals within 3km radius-(Pheonix palladium,Atria the Millennium),(Planet Godrej ,Piramal Mahalaxmi,DB Views,Seventh Avenue),(Lower Parel commercial hub)(St. Ignatius High School ,Barkat English High School,S. Bridge / Municipal School,Sadhvi Savitribai Phule Upper Primary School)(Kasturba Hospital ,Nirmala Maternity and Surgical Hospital,Balaji Hospital ,Bharat Ratna Dr. Babasaheb Ambedkar Memorial Hospital,Central Railway Hospital )
TRAFFIC & MARKET | Income Levels of People | Average household income in 2–3 km radius | High | Pass | 5 | ~Rs 2 lakhs to 5 lakhs pm
TRAFFIC & MARKET | Level of Competition | Number & strength of similar F&B outlets | High | Pass | 5 | Café-Iteeha Coffee Mahalaxmi, near VFS Global,Café Bae lower parel, abcoffee Marathon Futurex, NM Joshi Marg. Resturants & bars- Keibaa x All Saints, Avenue 27 Kitchen & Bar Byculla East , Annamaya Byculla East , Persian Darbar Byculla, since 1976.
TRAFFIC & MARKET | Estimated Sales of Nearby Competition | Rough idea from observation or public data | Medium | Pass | 5 | ~₹14 lakh/month per outlet | s
REGULATORY & COMPLIANCE | Commercial Use License | Site allows restaurant operation | Critical | Partial | 3 | Need to take statuotary approval, at the moment there's no approval for the same
REGULATORY & COMPLIANCE | FSSAI Location Suitability | Clean surroundings, no garbage dumps/pollution | Critical | Pass | 5 | None, no garbage dumps or pollution
REGULATORY & COMPLIANCE | Fire Safety Feasibility | Space for exits & equipment | High | Pass | 5 | Since office building is ground + 1 st floor building ,No need of Fire safety as per statuotary norm.But can provide fire extinguisher .
Questions to the owner
Electricity and load we need proper documents
Can you recomded any testing agency for water testing
Comment;- we need to appoint liasing consultant to get the approvals and remarks for the below
Sewer & Drainage

## Scoring Rubric
Section | Details
Scoring Scale | 5 = Excellent fit – Ideal conditions
Scoring Scale | 4 = Good – minor fixes only
Scoring Scale | 3 = Average – workable with investment
Scoring Scale | 2 = Poor – major challenges
Scoring Scale | 1 = Unacceptable / Deal breaker
MANDATORY Go/No-Go | 1. Commercial zoning & license feasible
MANDATORY Go/No-Go | 2. Sufficient 3-phase electricity + adequate load
MANDATORY Go/No-Go | 3. Sewer connection + grease trap possible
MANDATORY Go/No-Go | 4. Kitchen exhaust venting feasible
MANDATORY Go/No-Go | 5. Good visibility + easy access
MANDATORY Go/No-Go | 6. Adequate parking
MANDATORY Go/No-Go | 7. Clean & hygienic surroundings (FSSAI compliant)
Overall Decision | 90+ = Excellent Site → Strongly Proceed
Overall Decision | 75–89 = Good Site → Proceed after fixing issues
Overall Decision | 60–74 = Marginal → Only if very strong location advantage
Overall Decision | Below 60 = Reject the site

## Sources
Category | Item | Recommended Sources | How / Notes
Utilities | Electricity & Load | Landlord documents, BSES / Tata Power / DISCOM office | Ask for sanctioned load certificate; get electrician visit
Utilities | Water Potability | NABL-accredited lab (Spectro, Sigma, Green Genra etc.) | Collect sample after shortlisting (₹500–1,500)
Utilities | Sewer / Grease Trap | MCD local office + civil engineer | Confirm chamber location feasibility
Utilities | Gas Permission | Indane / HP / BPCL commercial desk | Written permission required
Regulatory | Commercial Zoning & License | MCD Portal (etl.mcdonline.nic.in), DDA zonal plan | Check property on portal + consult architect
Regulatory | Eating House / Police NOC | Delhi Police Unified Portal (licensing.delhipolice.gov.in) | Online application
Regulatory | FSSAI Suitability | FSSAI Schedule-4 guidelines + local health officer | Ensure no polluting activities nearby
Traffic | Traffic Count & Flow | Manual count (3 visits: weekday + weekend), Delhi Traffic Police website (delhitrafficpolice.nic.in) | Use free counter app
Market | Income & Competition | Google Maps + 99acres/Magicbricks + Census data | Walk the area at lunch & dinner
Site Visit | All physical checks | Multiple site visits (8 AM, 1 PM, 8 PM) | Take photos & notes

## Action Sheet (2)
ACTION SHEET — PENDING ITEMS FROM SITE CHECKLIST
# | Category | Checklist Item | What Needs to Be Done | Owner | Deadline
UTILITIES & SERVICES
1 | UTILITIES & SERVICES | Power Backup | Need to take statutory approval for DG set / generator placement. Need to get Owner's written approval on location.
2 | UTILITIES & SERVICES | Water Potability | Need to carry out potability test through external agency. Need to ask Owner for recommended testing agency.
3 | UTILITIES & SERVICES | Water Quality | Need to confirm water pressure & hardness level. Currently noted at 50 TDH — Need to verify if adequate for café operations.
4 | UTILITIES & SERVICES | Sewer & Drainage | Need to submit operational proposal to Municipal authority. Need to Obtain drainage remarks / approval. Need to appoint liaison consultant for this.
5 | UTILITIES & SERVICES | Grease Trap Chamber | Need to confirm grease trap size and feasibility of external location. Need to get municipal approval via liaison consultant.
6 | UTILITIES & SERVICES | Commercial Gas | Need to apply for commercial PNG/LPG connection. No existing connection — apply to Mahanagar Gas (MGL) commercial desk.
7 | UTILITIES & SERVICES | Internet | Need to apply for high-speed commercial broadband connection for POS & delivery app operations (Swiggy / Zomato) if needed.
KITCHEN & BUILDING
8 | KITCHEN & BUILDING | HVAC / Exhaust System | Need to obtain Owner's written approval to use left side wall for kitchen exhaust ducting. No terrace available.
9 | KITCHEN & BUILDING | Floor Drainage & Slope | Need to finalise floor slope design for kitchen wet areas as per SWD (Stormwater Drain) remarks.
10 | KITCHEN & BUILDING | Structural Load Capacity | Need to engage structural consultant to assess floor load capacity based on planned kitchen equipment weights.
STAFF FACILITIES
11 | STAFF FACILITIES | Staff Toilets | Rear toilet block is in very bad condition (Score: 1). Need to develop remediation/renovation plan or propose a dedicated staff toilet within the premises before FSSAI/health inspection.
REGULATORY & COMPLIANCE
13 | REGULATORY & COMPLIANCE | Commercial Use License | No approval currently exists for restaurant/café operation.Need to take statutory approval
OWNER — PENDING QUESTIONS
14 | OWNER — PENDING QUESTIONS | Electricity Documents | Need to request proper electricity load documents and sanctioned load certificate from Owner.
15 | OWNER — PENDING QUESTIONS | Water Testing Agency | Need to ask Owner to recommend a water testing agency.